Water & Wastewater Infrastructure Services

439 McFarlan Road

Kennett Square, PA 19348

Phone: 610-444-3551

Fax: 610-444-8132

May  2025

Attention: Ms. Kelly Verna

935 N. Providence Road

Media, PA. 19063

RE: Sanitary Sewer Operations Maintenance Supervisors Report- May  2025

- Operational Status of the facilities & General Pump station Status

KBX performed the following general pump station repairs and observations:

May  2025 -general pump station repairs

General Collections:

- 5/8/25-Responded to a call of a blocked sewer main located at 928 N. Orange Street. Utilizing the jet truck cleared blockage in line after multiple attempts. Observed proper flow before departure.

- 5/29/25-Force main break repair located at 562 Forge Road.

- 5/29/25-Responded to a call of a blocked sewer main located at 928 N. Orange Street. Utilizing the jet truck cleared blockage in line after multiple attempts. Observed proper flow before departure.

Bortondal Pump Station:

- 5/3/25- Responded to a backup float system active alarm due to heavy rain. Observed station upon arrival. Station operating as intended.

- 5/14/25-Responded to lag alarms during heavy rain event. Upon arrival at the station at normal level. Observed proper operation before departure.

- 5/16/25-Responded to backup system active and high-water alarms. Upon arrival the station was at normal operating levels. Reset alarms and observed proper operation before departure.

Braves Trail Pump Station:

- Routine Maintenance

Letitia Lane Pump Station:

- Routine Maintenance

Media Station Pump Station:

- Routine Maintenance

Rose Tree Upper Pump Station

- Routine Maintenance

Rose Tree Lower Pump Station:

- Routine Maintenance

Rose Tree Park Pump Station:

- Routine Maintenance

Tolf Woods Pump Station:

- Routine Maintenance

Valley View Pump Station:

- Routine Maintenance

Winter Street Pump Station

- Routine Maintenance

Recommendations for Repairs**

***Please inform us which repairs are the responsibility of the contractor who did the station build outs and upgrades and which you would like us to attend to/fix.

Please let us know if you have any questions or concerns.

KBX Golden, LLC

439 McFarlan Road

Kennett Square, Pa.